Premises Meeting 24 May 22
Update on issues raised at last meeting:
	Point Raised 
	Progress / Target Date

	Blocked drains on roof
	Cleared

	Water seeping in Nursery Playground
	Obtaining quotes for Summer Holiday repair 

	Corrosion Nursery canopy supports 
	Obtaining quotes for Summer Holiday repair 

	Nursery shed roof leak
	New Felt to be fitted scheduled for May Half Term 

	Concrete at shed entrance
	Work underway

	Sprinkler building water leak into base
	Scheduled for Summer Holiday repair

	Sprinkler Compound Fence painting
	Scheduled for a Summer 



New Issues
	West Building Hot Water Boiler is broken again this time because of a corroded fan caused by the previous leak
	Awaiting spares 

	[image: ][image: ][image: ]Radiators – The Hall radiators are not fitted with thermostats because the casing fits too close to the valve.
	Site manager to cut out casing and fit a valve to each radiator.

	Sprinkler Compound fence damaged by high winds
	Awaiting repair by Barnes Fencing



Ongoing Issues
1. Vynyl lifting on stairs
2. Carpet which had been stuck down with tape has now been glued time will tell if this proves to be a long-term solution. 
3. Harlyn Garden fence was temporarily repaired after the high wind and a quote has been requested for a replacement.
4. The Pond – Clearance of debris has been hampered by the condition of the decking which is badly rotten.
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