Premises Meeting 24 May 22
Update on issues raised at last meeting:

| Point Raised | Progress / Target Date |
| --- | --- |
| Blocked drains on roof | Cleared |
| Water seeping in Nursery Playground | Obtaining quotes for Summer Holiday repair |
| Corrosion Nursery canopy supports | Obtaining quotes for Summer Holiday repair |
| Nursery shed roof leak | New Felt to be fitted scheduled for May Half Term |
| Concrete at shed entrance | Work underway |
| Sprinkler building water leak into base | Scheduled for Summer Holiday repair |
| Sprinkler Compound Fence painting | Scheduled for a Summer |

New Issues

| West Building Hot Water Boiler is broken again this time because of a corroded fan caused by the previous leak | Awaiting spares |
| --- | --- |
| Radiators – The Hall radiators are not fitted with thermostats because the casing fits too close to the valve. | Site manager to cut out casing and fit a valve to each radiator. |
| Sprinkler Compound fence damaged by high winds | Awaiting repair by Barnes Fencing |

Ongoing Issues

- Vynyl lifting on stairs

- Carpet which had been stuck down with tape has now been glued time will tell if this proves to be a long-term solution.

- Harlyn Garden fence was temporarily repaired after the high wind and a quote has been requested for a replacement.

- The Pond – Clearance of debris has been hampered by the condition of the decking which is badly rotten.