MINUTES OF PREMISES MEETING – HARLYN SCHOOL

Thursday 10 September 2020 – 1400 held via Zoom

Present:  Martin Burden (Chair), Simon Jones, Steve Milsom,

Terry Butfield, Sally de Jongh, Dan Middleton

Apologies:  none

- Minutes of the last meeting, dated 23/01/20, were agreed as accurate.

- Outstanding Matters – none

- Health and Safety

- Nothing to report. Risk assessment done for Covid-19

- Covid-19 compliance very good and as practicable as it can be.

- No notifiable accidents to report.

- Jobs completed by contractors

- Gutters have been replaced on pavilion

- Gutters have been replaced above the medical room window

- A new roof has been fitted on the medical room

- MEM has carried out a fire risk assessment on the emergency lighting in the East Building as required by the Fire Risk Assessment.  Dan Middleton to check at next visit.						ACTION DAN MIDDLETON

- Jobs completed over lockdown period

- Cuprinol painting of storage shed and fence opposite hall has been completed

- Storage shed room opposite hall has been felted

- Exterior white walls on exit to playground have been painted

- Pavilion exterior walls have been painted

- New plastic fascia has been fixed to exterior of coal bunker

- Ongoing problems

- Classroom lights not turning off.  Having spoken to MEM, a decision was made to resort to normal lights, which switch on and off, as and when a problem arises. The cost will be less than continuous call out charges to reset the modems and PIRs.  Classrooms to be given priority for this.

- Bad drainage in Reception is still ongoing

- Vinyl lifting on the stairs has been checked by Health & Safety Officer and deemed OK at present.  This to be monitored

- Carpet lifting.  This has been stuck down with tape and is acceptable at present.  To be monitored.

- Noted that the fence to the Harlyn garden requires repair

- Recommendations

- Pavilion toilets need refurbishing. Cost obtained from R & L Paul: Stainless steel £1, 795 + vat per cubicle or China Armitage £1,017 + vat per cubicle (quote April 2019).  This was felt to be nice to have, but not necessary

- Carpet in E1/2 needs to be replaced with vinyl. Cost £2,000. Not a priority as hot food no longer being served, so not as much spillage.

- Lights in the old east building need updating in classrooms

- Clearance of pond and debris – This is not a Health & Safety issue and so not considered a priority.

- Cover between West and East buildings – design needed.  Martin Burden to investigate.							ACTION MB

- Large conifers overhanging nursery garden need advice of tree surgeon to see if they can be cut back.  This to be investigated during Winter		ACTION SM

- Double back gates leading onto the pavilion field need replacing. It was decided that, as that entrance is now being used on a regular basis, this must be considered.  A quote to be requested for this work.	ACTION SM/MB

- The white render on the front and side elevations of the west building have developed a green mould due to the damp. A price has been obtained from Robert James, for construction and painting, estimate available around £3.5k. This work will need scaffolding, cleaning and treatment of walls prior to painting.  Martin Burden to research paint/coatings to ensure paint does not degrade.							ACTION MB

- Prices obtained to repaint Reception 1 classroom cloakroom and toilet area and classroom 3P. (quote available).  It was decided to consider this work for next summer.

- Quotes to update lighting in Year 5 classrooms and G22 and 23 have been obtained. Quotes and options to be emailed to committee. [Quote from MEM for work to five classrooms was £6,224 dated 5 May 2020].

- A quote has been obtained to resolve water problem in reception area playground

- Two quotes for nursery wall. This will need to be considered again as costs obtained are extremely high [£4.940 plus VAT from Eco].   Nursery staff would like steps instead of a grassy bank and retaining wall, and the cost for this is excessive. Terry Butfield commented that this could be deemed a health and safety issue. It was agreed to look again at quotes obtained in order to make a final decision.						ACTION CTTEE

- Any Other Business – It was noted that as all quotes discussed had been obtained before Lockdown and may well have increased.

- Date and time of next meeting – Thursday 21st January 2021 2.00 pm.

Signed  				21st January 2021

The Chair has extended his permission to use his e-signature while unable to attend school in person.