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PREMISES MEETING – THURSDAY, 29 APRIL 2021


JOBS COMPLETED BY CONTRACTORS:

· Following a gas leak a new gas pipe has been installed over the East Building by D & G Higgins (organised through LBH).
· Interactive boards have now been installed throughout the whole school organised by Amar IT Consultant.
· The large conifers overhanging the Nursery Garden have been cut back on the school side. Also an oak and an ash tree along the path to the back gate have been radically cut back. 
· MEM have replaced the twelve old hall lights with LED lights. 
· MEM have installed a new control panel in the old Plant Room, East Building.

ONGOING PROBLEMS:

· Vinyl lifting on stairs.  Checked by Health & Safety – okay at the moment. To monitor.
· Carpet lifting. Sticking down with tape.

FUTURE WORKS:
· Pavilion toilets need refurbishing. Cost obtained from R&L Paul – Stainless Steel £1,795 + VAT per cubicle.  China Armitage - £1,017 + VAT per cubicle (April 2019).
· Clearance of pond debris and foliage.
· Cover between West and East Buildings – Architectural design needed.





· The white render on the front and side elevations of the West Building have developed a green mould due to the damp weather.  Prices have been obtained from Brightside and Hobdell to re-paint.
· Prices obtained to repaint various classrooms, cloakrooms and toilet areas in East and West buildings. (Estimates available). 
· Electric car chargers in car park.  May be of concern when more people get electric cars.
· A quote has been obtained for the downstairs girl’s toilet in the East Building to paint and provide new floor coverings.
· Staffroom ceiling needs replacing in areas following leak from upstairs toilet.
· The fence to the ‘Harlyn Garden’ is in need of repair.
· General maintenance and servicing etc ongoing.
· Some estimates that have been obtained are old and we will need to obtain new prices.  All highlighted quoted prices shown above are up to date. 

