### PREMISES MEETING – THURSDAY, 12 SEPTEMBER 12.09.19

JOBS COMPLETED:

- New fence erected around pond area at the bottom of the cricket field.

- New boilers have been installed in the East Building.

- New door fitted in E1/E2.

- Dead tree removed from Nursery grassed area.  Tree pruned in car park area.

- ICT works were carried out over the summer holidays.

ONGOING PROBLEMS:

- Classroom lights and other areas are not turning off.

- Carpet lifting.  Having to stick down with tape.

- Vinyl lifting on stairs.

- Bad drainage on Reception playground – price obtained.

- Some flush buttons in children’s toilets are failing.

FUTURE JOBS:

- Pavilion toilets need refurbishing.

- Carpet in E1/E2 needs to be replaced with vinyl.

- Lights in the old East Building need up-dating.

- New taps required in Girls Toilets in old East Building upstairs and downstairs.

- Pond works.

- Cover between West and East Buildings – design needed.

OTHER JOBS:

- New Damper Panel needed in East Building.