PREMISES MEETING – THURSDAY, 21 JANUARY 2021

JOBS COMPLETED BY CONTRACTORS:

- Barnes Fencing replaced the double gates on to the back field on 19.11.2020 at a cost of £1,440.00.

- MEM have completed lights in the three Y5 classrooms, G22 and G23 at a cost of £6,224.00.

- Jet Clean completed the drainage in the Reception playground at a cost of £2,450.00.

- EcoPlace completed the new wall in the Nursery playground on 15.12.2020 at a cost of £4,940.00.

- New interactive boards have been installed in 2 x Y5 and 2 x Y6 classrooms over the weekends 14/15 and 21/22 November 2020.

ONGOING PROBLEMS:

- Vinyl lifting on stairs.  Checked by Health & Safety – okay at the moment. To monitor.

- Carpet lifting. Sticking down with tape.

FUTURE WORKS:

- Pavilion toilets need refurbishing. Cost obtained from R&L Paul – Stainless Steel £1,795 + VAT per cubicle.  China Armitage - £1,017 + VAT per cubicle (April 2019).

- Clearance of pond debris and foliage.

- Cover between West and East Buildings – Architectural design needed.

- Tree works: There are some very large conifers overhanging the Nursery Garden.  Will need the advice of a tree surgeon to see if they can be cut back.  Also an oak and an ash tree on the path to the back gate needs checking.

- The white render on the front and side elevations of the West Building have developed a green mould due to the damp weather.  A price had been obtained from Robert James Construction & Painting.  (Estimate available).

- Prices obtained to repaint Reception 1 Classroom and Cloakroom and Toilet Area and Classroom 3P.  (Estimate available).

- Electric car chargers in car park.  May be of concern when more people get electric cars.

- A quote has been obtained from MEM to replace twelve old hall lights with LED lights at a price of £720.00.

- A price has been obtained from MEM for a new control panel in the old Plant Room, East Building, as parts for this are now obsolete of £2,250.00.

- The downstairs girl’s toilet in the East Building needs to be re-furbished – new basins, taps, sanitary wear, paintwork and new floor coverings.

- Staffroom ceiling needs replacing in areas following leak from upstairs.

- Paint toilets in both West and East Buildings.

- The fence to the ‘Harlyn Garden’ is in need of repair.

- All estimates that have been obtained are old and we will need to obtain new prices.  All highlighted quoted prices shown above are up to date.