MINUTES OF PREMISES MEETING – HARLYN SCHOOL

Wednesday 3 April 2019

Present :  Martin Burden (Chairman), Terry Butfield, Sally de Jongh, Simon Jones, Steve Milsom, Maureen Holden, Simon Middleton

- JOBS COMPLETED:

- New felt on 2 sheds in Nursery

- Hall doors serviced and repaired

- All canopies and Nursery gutters to be cleaned on 8.4.19

- New Asbestos Management Survey completed

- New Fire Risk Survey completed

- New Water Risk Survey to be completed shortly

- OUTSTANDING WORKS:

- Fault on NuAire System (Watford Air Con)

- Fault on Damper Panel (obtaining price from Swegon)

- Damper damaged (obtaining price from Swegon)

- Emergency lights have been checked by MEM. 12 x Fire Exit Signs need replacing (3 hours work).

- New Door required in E1/E2.  Hinges broken.  (Job been okayed).

- Work is being carried out to trim a tree encroaching into a neighbour’s garden.  Agreed to share the cost.

- FURTHER AREAS REQUIRING ATTENTION:

- Pond fence lower field needs attention.

- Pond also needs attention.

- There are areas in the school where lights do not turn off on their own.

- Carpet lifting in several places on joins and around sink areas in classrooms.  Covered with black tape as and when necessary.

- Areas where vinyl is lifting on staircases.  Covered with grey tape as and when necessary.

- Pavilion toilets in need of refurbishment.

- Bad drainage on reception playground.  Needs aco drains to take water away.

- Costs have been obtained to exchange carpet for vinyl in E1/E2 (£2,000).

- Quotes are being obtained to replace the existing boiler in the East Building boiler room.