SITE MANAGER REPORT MAY 2025

Notable Unscheduled Repairs

- East Block Ladies Toilets blocked – Jet Clean called out to clear.

New Activity

- Playground Markings. Markings now in place, activity boards due in late May (8-10 week lead time).

- Food Waste Recycling.	We now have a food waste recycling system in place to comply with The Separation of Waste (England) Regulations 2025. The introduction has gone smoothly although Hillingdon forgot to collect our food wheelie bin in the first week. The cost of the bins and collection is at no additional cost to us. 
https://www.gov.uk/guidance/simpler-recycling-workplace-recycling-in-england#legal-requirement-for-workplaces

- A Pedestrian Safety Barrier to prevent people from walking into the main door if approaching from the side (to comply with BS EN 12453:2017+A1:2021) was to be fitted over Easter but the delivery came without the fitting bolts. It will be installed shortly.

- Girls Toilet Door (Playground). I replaced the lower and upper door closing mechanisms following on from the boys’ door failure.

- Push Bars for West and East Wing Doors. I replaced the dogging assembly in each of the push bars so that they now lock in the open position during the school day.

Other Notable Items

- Hall Roof – There was some leakage during the recent very heavy rain but far less than before the patch repairs were completed.

- Air Conditioning Contractor – Eagle Systems conducted a thorough servicing and provided the FGas certificates. They are now our regular contractor.